## Slide 1
Photonic measurement of gas pressure.
Arbeitsgruppe 7.55
André Kussicke

## Slide 2: Motivation of the „QuantumPascal“ Project
K
s
m
Usefull in vacuum
Methods based on density measurements
kg
m
s
Status Quo:
Force per area
New theory
u(nHe−1) < 10−6
Helium
Frequency:
New SI: u(k) = 0

## Slide 3: Quantum Pascal Project: Goals
Design new optical pressure standards.
AG 7.54 – Vacuum Metrology
AG 3.33
Pressure (Pa)
Relative uncertainties
Status Quo – Established methods
Hg-Manometer
Schwien (BS)
Pressure-
gauge
Static Expansion
Continious Expansion

## Slide 4: New photonic methods
Hg-Manometer
Schwien (BS)
Pressure balance
Static Expansion
Continious Expansion
Cavity-Ring-Down-
Spectroscopy (CO2)
Refractivity measurements
(He, Ar & N2)
Pressure (Pa)
relative uncertainties
AG 7.54 – Vacuum Metrology
AG 3.33
Absorption-spectroscopy
with Herriott-Cells (CO2)
Magneto-
optic
traps

## Slide 5: Measurement principle
⇒ =-Ln()/(L)

## Slide 6: Experimental setup: TDLAS
2
1
3

## Slide 7: Determining the emission frequency
Quantum Cascade Laser
Scanning FPI for 4-5 µm.

## Slide 8: Determining the emission frequency
QCL emission frequecy is step-wise increased by adjusting the operating temperature
  Increase in: 1°C steps from -20 to +23°
Total scanning range of 0.263 THz or 8.8 cm-1

## Slide 9: Absolute QCL emission frequency

## Slide 10: Frequency calibration

## Slide 11: Pressure dependent CO-measurement

## Slide 12: Data fitting and integration

## Slide 13: TDLAS results: Absorption line strength

## Slide 15: TDLAS as a pressure standard

## Slide 16
Physikalisch-Technische Bundesanstalt
Braunschweig und Berlin
Abbe Straße 2-12
10587 Berlin
André Kussicke
E-Mail: Andre.Kussicke@PTB.de
www.ptb.de